## EXAMPLE
DEVICE ID | TYPE | CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8 | CLUSTER 9
A275
A295
A350
A450
A500
A810
AGM0101
AGM0102
AGM0103
AGM0104
AGM1101
AGM1102
AGM2101
AGM2102
AGM2103
AGM4101
AGM4102
AGM4103
AGM5101
AGM5102
AGM5103
AGM6101
AGM6102
AGM6103
CPM0101
CPM0102
CPM1101
CPM1102
CPM2101
CPM2102
CPM4101
CPM4102
CPM5101
CPM5102
CPM6101
CPM6102
HL0101
HL0102
HL0103
HL0104
HL1101
HL1102
HL2101
HL2102
HL2103
HL4101
HL4102
HL4103
HL5101
HL5102
HL5103
HL6101
HL6102
HL6103
HT275
HT295
HT350
HT450
HT500
HT810
LL0101
LL0102
LL0103
LL0104
LL1101
LL1102
LL2101
LL2102
LL2103
LL4101
LL4102
LL4103
LL5101
LL5102
LL5103
LL6101
LL6102
LL6103
MF0101
MF1101
MF2101
MF4101
MF5101
MF6101
PC0101
PC0102
PC0103
PC0104
PC1101
PC1102
PC2101
PC2102
PC2103
PC4101
PC4102
PC4103
PC5101
PC5102
PC5103
PC6101
PC6102
PC6103
PS0101
PS0102
PS0103
PS0104
PS1101
PS1102
PS2101
PS2102
PS2103
PS4101
PS4102
PS4103
PS5101
PS5102
PS5103
PS6101
PS6102
PS6103
PT275A
PT295A
PT350A
PT450A
PT500A
PT810A
PV275B
PV295B
PV350B
PV450B
PV500B
PV810B
TC0101
TC0102
TC0103
TC0104
TC1101
TC1102
TC2101
TC2102
TC2103
TC4101
TC4102
TC4103
TC5101
TC5102
TC5103
TC6101
TC6102
TC6103
TE275
TE295
TE350
TE450
TE500
TE810

## SECTION1
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8 | CLUSTER 9
A275 | PC6202 | PC1301 | TC1401 |  |  | FM0761 | AGM0913 | HT1203
A295 |  | LL1302 | PC2401 |  |  | PC0781
A350 | PC5201 | CPM0311 | CPM1401 |  |  | PRM0741 | HL0912 | TC1201
A450 | PC2204 | PC0302 | PC0402 | PC0502 |  | ZS0707 | LL0911 | PC1102
A500 | PC0201 | AGM0301 | AGM0401 | AGM0501 | CPM0601 | CPM0701 | CPM0901 | CPM1001
A810 | PC1202 | PS0301 | PS0401 | PS0501 | PC0602 | ZS0702 | TC0902 | LL1101
AGM0101 |  | CPM2301 | CPM4401 |  |  | MF0791
AGM0102 |  | LL2302 | CPM5401 |  |  | PC0794
AGM0103 |  | HL4301 | AGM6401 |  |  | ZS1701
AGM0104 |  | HL4302 | TC6401 |  |  | PFM2701
AGM1101 |  | AGM5301 |  |  |  | PFM2711
AGM1102 |  | HL5302 |  |  |  | ZS4704
AGM2101 |  | CPM6301 |  |  |  | ZS5701
AGM2102 |  | LL6302 |  |  |  | LL6701
AGM2103 | [5 empty] | PFM6711
AGM4101
AGM4102
AGM4103
AGM5101
AGM5102
AGM5103
AGM6101
AGM6102
AGM6103
CPM0101 |  | HL2301 | HL4401 |  |  | PC0791
CPM0102 |  | PC2302 | HL5401 |  |  | PC0795
CPM1101 |  | CPM5301 |  |  |  | CPM4701
CPM1102 |  | LL5302 |  |  |  | FM4711
CPM2101 |  | HL6301 |  |  |  | ZS5702
CPM2102 |  | PC6302 |  |  |  | PFM6701
CPM4101
CPM4102
CPM5101
CPM5102
CPM6101
CPM6102
HL0101 |  | LL2301 | LL4401 |  |  | RPP0791
HL0102 |  | PS2302 | LL5401 |  |  | PC0796
HL0103 |  | LL4301 | CPM6401 |  |  | ZS1702
HL0104 |  | LL4302 | TC6402 |  |  | ZS2701
HL1101 |  | HL5301 |  |  |  | FM4701
HL1102 |  | PC5302 |  |  |  | PFM4711
HL2101 |  | LL6301 |  |  |  | ZS5703
HL2102 |  | PS6302 |  |  |  | ZS6701
HL2103
HL4101
HL4102
HL4103
HL5101
HL5102
HL5103
HL6101
HL6102
HL6103
HT275 | PC6203 | PS1301 | AGM2401 |  |  | PRM0761 | HL0913 | TC1203
HT295 |  | PC1302 | PS2401 |  |  | PLM0781
HT350 | PC5202 | AGM1301 | HL1401 |  |  | TC0741 | LL0912 | CPM1202
HT450 | PC4201 | PS0302 | PS0402 | PS0502 |  | ZS0708 | PC0911 | PS1102
HT500 | PC0202 | CPM0301 | CPM0401 | CPM0501 | MF0601 | FM0701 | LPM0901 | FM1001
HT810 | PC1203 | TC0301 | TC0401 | TC0501 | TC0602 | ZS0703 | PC0903 | ML1101
LL0101 |  | PC2301 | PC4401 |  |  | TC0791
LL0102 |  | TC2302 | PC5401 |  |  | CPM1701
LL0103 |  | PC4301 | HL6401 |  |  | ZS1703
LL0104 |  | PC4302 |  |  |  | ZS2702
LL1101 |  | LL5301 |  |  |  | LL4701
LL1102 |  | PS5302 |  |  |  | CPM5701
LL2101 |  | PC6301 |  |  |  | ZS5704
LL2102 |  | TC6302 |  |  |  | ZS6702
LL2103
LL4101
LL4102
LL4103
LL5101
LL5102
LL5103
LL6101
LL6102
LL6103
MF0101 |  | PS2301 | PS4401 |  |  | PC0792
MF1101 |  | PC5301 |  |  |  | PFM4701
MF2101 |  | PS6301 |  |  |  | FM5711
MF4101
MF5101
MF6101
PC0101 |  | TC2301 | TC4401 |  |  | TC0792
PC0102 |  | CPM2311 | PS5401 |  |  | FM1701
PC0103 |  | PS4301 | LL6401 |  |  | CPM2701
PC0104 |  | PS4302 |  |  |  | ZS2703
PC1101 |  | PS5301 |  |  |  | ZS4701
PC1102 |  | TC5302 |  |  |  | FM5701
PC2101 |  | TC6301 |  |  |  | PFM5711
PC2102 |  | CPM6311 |  |  |  | ZS6703
PC2103
PC4101
PC4102
PC4103
PC5101
PC5102
PC5103
PC6101
PC6102
PC6103
PS0101 |  | AGM2302 | TC4402 |  |  | PC0793
PS0102 |  | AGM4301 | TC5401 |  |  | LL1701
PS0103 |  | TC4301 | PC6401 |  |  | FM2701
PS0104 |  | TC4302 |  |  |  | ZS2704
PS1101 |  | TC5301 |  |  |  | ZS4702
PS1102 |  | CPM5311 |  |  |  | LL5701
PS2101 |  | AGM6302 |  |  |  | CPM6701
PS2102 | [5 empty] | ZS6704
PS2103
PS4101
PS4102
PS4103
PS5101
PS5102
PS5103
PS6101
PS6102
PS6103
PT275A | PC6204 | TC1301 | CPM2401 |  |  | TC0761 | LL0913
PT295A |  | PS1302 | TC2401 |  |  | PC0782
PT350A | PC5203 | CPM1301 | LL1401 |  |  | FM0751 | PC0912 | HT1202
PT450A | PC4202 | TC0302 | TC0402 | TC0502 |  | FM0711 | PS0911 | CPM1201
PT500A | PC0203 | HL0301 | HL0401 | HL0501 | PC0601 | LL0701 | PC0901 | AGM1101
PT810A | PC2201 | AGM0302 | AGM0402 | AGM0502 |  | ZS0704 | AGM0911 | PC1101
PV275B | PC6205 | AGM1302 | HL2401 |  |  | TC0771 | PS0913
PV295B |  | TC1302 | TC2402 |  |  | FM0791
PV350B | PC5204 | HL1301 | PC1401 |  |  | PRM0751 | PS0912 | TC1202
PV450B | PC4203 | PC0303 | TC0403 | PC0503 |  | PFM0711 | TC0911 | HT1201
PV500B | PC0204 | LL0301 | LL0401 | LL0501 | TC0601 | PFM0701 | TC0901 | CPM1101
PV810B | PC2202 | HL0302 | HL0402 | HL0502 |  | ZS0705 | CPM0911 | PS1101
TC0101 |  | HL2302 | AGM5401 |  |  | TC0793
TC0102 |  | CPM4301 | TC5402 |  |  | PFM1701
TC0103 |  | AGM4302 | PS6401 |  |  | LL2701
TC0104 |  | CPM4311 |  |  |  | FM2711
TC1101 |  | AGM5302 |  |  |  | ZS4703
TC1102 |  | AGM6301 |  |  |  | PFM5701
TC2101 |  | HL6302 |  |  |  | FM6701
TC2102 | [5 empty] | FM6711
TC2103
TC4101
TC4102
TC4103
TC5101
TC5102
TC5103
TC6101
TC6102
TC6103
TE275 |  | HL1302 | LL2401 |  |  | FM0781 | TC0913
TE295 |  | AGM2301 | AGM4401 |  |  | HPP0791
TE350 | PC6201 | LL1301 | PS1401 |  |  | TC0751 | TC0912 | CPM1203
TE450 | PC4204 | PC0304 | AGM1401 | PC0504 |  | FM0741 | AGM0912 | LL1201
TE500 | PC1201 | PC0301 | PC0401 | PC0501 | CPM0602 | ZS0701 | PC0902 | HL1101
TE810 | PC2203 | LL0302 | LL0402 | LL0502 |  | ZS0706 | HL0911 | TC1101

## section1 - Oiltek
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8 | CLUSTER 9
Agitator | Pressure Transmitter | Agitator | Agitator | Agitator | Pump | Pump | Agitator | Agitator
Control Valve |  | Pump | Pump | Pump | Flow Transmitter | Fan | Pump | Pump
Flow Transmitter |  | High Level Switch | High Level Switch | High Level Switch | Pressure Transmitter | Pressure Transmitter | High Level Switch | Fan
Heater |  | Low Level Switch | Low Level Switch | Low Level Switch | Temperature Transmitter | Low Level Switch | Low Level Switch | High Level Switch
High Level Switch |  | Pressure Transmitter | Pressure Transmitter | Pressure Transmitter |  | Flow Transmitter | Pressure Transmitter | Low Level Switch
Low Level Switch |  | Switch | Switch | Switch |  | Pressure Transmitter | Switch | Heater
On/Off Signal |  | Temperature Transmitter | Temperature Transmitter | Temperature Transmitter |  | Pin Rotor Motor | Temperature Transmitter | Mid Level Switch
Pressure Transmitter | [5 empty] | Temperature Transmitter |  | Pressure Transmitter
Pump | [5 empty] | Switch |  | Switch
Switch | [7 empty] | Temperature Transmitter
Temperature Transmitter

## SECTION2
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8
DV361
DV362
DV411
DV412
DV481
DV482
DV551 |  |  |  | CPM67PL1
DV552
DV601 | CV34ST1 | V05CF1 | V06CF2DA | HT07PF1A | V09CF2DA | V11CF2DA | CV12ST2
DV602 | V04CF5 | V05CR2DA | V06CT2 | HT07PR1A | V09CF11 | V11CR4DA
DV921 | V34CF3DA | V35DA1 |  | LL37PR1
DV922 | V44CR1 | V45DA2 |  | CPM47PR1
FB361
FB411
FB481
FB551 |  |  |  | LL67PL1
FB601 | CV44ST1 | V05CF2 | V06CF3DA | HT07PF1B | V09CF3DA | V11CF3DA
FB921 | V34CF4DA | V35DA2 |  | TC37PR1
HLA360
HLA361
HLA362A
HLA410
HLA411
HLA412A
HLA480
HLA481
HLA482A
HLA550 |  | V65DA2 |  | HT67PF1B
HLA600 | CV04ST1 | V05CF05 | V06CF1 | CPM07PF1 | V09CF1 | V11CF1 | CV12ST1
HLA601 | CV54ST1 | V05CF3DA | V06CF4DA | CPM07PL1 | V09CF4DA | V11CF4DA
HLA602A | V04CF8DA | V05DA1 |  | CPM27PF1 | V09CF14DA
HLA920 | V34CF2DA | V35CR2DA |  | CPM37PR1
HLA921 | V34CR1 | V45CF1 |  | CPM47PF1
HLA922A | V54CF2DA | V55CF3DA |  | CPM57PF1
LCV362
LCV412
LCV482
LCV552
LCV602 | V04CF6DA | V05CR3DA |  | HT07PR1B | V09CF12DA
LCV922 | V44CR2DA | V55CF1 |  | LL47PR1
LLA361
LLA411
LLA481
LLA551 |  |  |  | TC67PL1
LLA601 | CV64ST1 | V05CF4DA | V06CR1 | LL07PL1 | V09CR1 | V11CF5DA
LLA921 | V34CR2DA | V45CF2 |  | HT47PF1A
LSH361A
LSH361B
LSH411A
LSH411B
LSH481A
LSH481B
LSH551A |  |  |  | CPM67PR1
LSH551B |  |  |  | TC67PR1
LSH601A | V04CF1 | V05CF6DA | V06CR2DA | TC07PL1 | V09CR2DA | V11CF6DA
LSH601B | V04CF3DA | V05CF8DA | V06CR4DA | LL07PR1 | V09CR4DA | V11CR2DA
LSH921A | V44CF1 | V45CF3DA |  | HT47PF1B
LSH921B | V44CF3DA | V45CR2DA |  | LL47PL1
LSL361A
LSL361B
LSL411A
LSL411B
LSL481A
LSL481B
LSL551A |  |  |  | LL67PR1
LSL551B
LSL601A | V04CF2 | V05CF7DA | V06CR3DA | CPM07PR1 | V09CR3DA | V11CR1
LSL601B | V04CF4DA | V05CR1 | V06CT1 | TC07PR1 | CV09ST1 | V11CR3DA
LSL921A | V44CF2DA | V45CR1 |  | CPM47PL1
LSL921B | V44CF4DA | V45DA1 |  | TC47PL1
LT362
LT412
LT482
LT552
LT602 | V04CF7DA | V05CR4DA |  | HT07PRL1A | V09CF13DA
LT922 | V54CF1 | V55CF2 |  | TC47PR1
P362A
P362B
P412A
P412B
P482A
P482B
P552A
P552B
P602A | V04CR1 | V05DA2 |  | HT27PF1A | V09CF15
P602B | V04CR2DA | V25CF1 |  | HT27PF1B | V09CF16DA
P922A | V54CF3DA | V55CR1 |  | HT57PF1A
P922B | V54CF4DA | V55CR2DA |  | HT57PF1B
PSH362
PSH412
PSH482
PSH552
PSH602 | V04CR3DA | V25CF2DA |  | LL27PL1 | V09CF17
PSH922 | V54CR1 | V55DA1 |  | CPM57PL1
PT361A
PT361B
PT362
PT411A
PT411B
PT412
PT481A
PT481B
PT482
PT551A
PT551B
PT552
PT601A | V04CR4DA | V25CR1 |  | TC27PL1 | V09CF18DA
PT601B | V24CF1 | V25CR2DA |  | CPM37PF1 | V09CF19DA
PT602 | V24CF2DA | V25DA1 |  | HT37PF1A | V09CF20DA
PT921A | V54CR2DA | V55DA2 |  | LL57PL1
PT921B | V64CF1 | V65CF1 |  | TC57PL1
PT922 | V64CF2DA | V65CF2 |  | CPM57PR1
S362A
S412A
S482A
S602A | V24CF3DA | V35CF1 |  | HT37PF1B | V09CR11
S922A | V64CF3DA | V65CF3DA |  | LL57PR1
V01BP1
V01BP2
V01BP3
V01BP4
V01ST1
V01ST2
V01ST3
V01ST4
V21BP1
V21BP2
V21ST1
V21ST2
V31BP1
V31BP2
V31BP3
V31ST1
V31ST2
V362.11
V412.11
V41BP1
V41BP2
V41BP3
V41ST1
V41ST2
V482.11
V51BP1
V51BP2
V51BP3
V51ST1
V51ST2
V552.11
V602.11 | V34CF1 | V35CR1 |  | TC37PL1 | V09CR14DA
V61BP1
V61BP2
V61BP3
V61ST1
V61ST2
V922.11 | V64CR2DA | V65DA1 |  | HT67PF1A
VB361
VB411
VB481
VB551
VB601 | V24CR1 | V35CF2 |  | CPM37PL1 | V09CR12DA
VB921 | V64CF4DA | V65CR1 |  | TC57PR1
VP362A
VP412A
VP482A
VP552A
VP602A | V24CR2DA | V35CF3DA |  | LL37PL1 | V09CR13DA
VP922A | V64CR1 | V65CR2DA |  | CPM67PF1

## section2 - Oiltek
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8
Fan | On/Off Valve | On/Off Valve | On/Off Valve | Pump | Control Valve | On/Off Valve | Control Valve
On/Off Valve | Control Valve |  |  | Heater | On/Off Valve
High Level Switch |  |  |  | Temperature Transmitter
Low Level Switch |  |  |  | Low Level Switch
Control Valve
Level Transmitter
Pump
Pressure Switch
Pressure Transmitter
Vibrator
Vacuum Pump

## SECTION3
SECTION3
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8 | CLUSTER 9
FCV001 | V001.21 | LLA023 | FIT101 | CV06121 | CV06121 | CV07091 | V09011 | V11051
FITQ001 | V001.25 | P023 | PSL101.1 | CV06122 | CV06122 | V070901 | V09012 | V11121
M001A | V111.21 | SIC023 | PSL102.1 | CV26121 | CV26121 | V070901 | V09013
P001 | V111.25 | SIC023FB | FIT211 | CV26122 | CV26122 |  | V09051
TCV001 | V021.21 | A023.4 | PSL211.1 | CV36121 | CV36121 |  | V09052
TE001 | V021.25 | LLA133 | PSL212.1 | CV36122 | CV36122 |  | V09053
FCV111 | V051.21 | P133 | FIT151 | CV46121 | CV46121 |  | V09071
FITQ111 | V051.25 | SIC133 | PSL151.1 | CV46122 | CV46122 |  | V09072
M111A | V071.21 | SIC133FB | PSL152.1 | CV56121 | CV56121 |  | V09091
P111 | V071.25 | A133.4 | FIT181 | CV56122 | CV56122 |  | V09092
TCV111 | V081.21 | LLA043 | PSL181.1 | CV66121 | CV66121 |  | V09121
TE111 | V081.25 | P043 | PSL182.1 | CV66122 | CV66122 |  | V09122
FCV021 | V03021 | SIC043 | FIT221 |  |  |  | V09123
FCV051 | V03053 | SIC073FB | V05021 |  |  |  | V39012
FCV071 | V23051 | A093.4 | V05041 |  |  |  | V49012
FCV081 | V33052 | V04001 | V05095 |  |  |  | V59012
FITQ021 | V03022 | SIC043FB | PSL221.1 |  |  |  | V29011
FITQ051 | V03054 | A073.4 | V05022 |  |  |  | V39051
FITQ071 | V23052 | LLA103 | V05042 |  |  |  | V49051
FITQ081 | V33121 | V04002 | V05111 |  |  |  | V59051
M021A | V03023 | A043.4 | PSL222.1 |  |  |  | V29012
M051A | V03121 | LLA093 | V05023 |  |  |  | V39052
M071A | V33021 | P103 | V05091 |  |  |  | V49052
M081A | V43021 | V04051 | V05112 |  |  |  | V59052
P021 | V03024 | LLA073 | FIT241 |  |  |  | V29051
P051 | V03122 | P093 | V05024 |  |  |  | V39121
P071 | V33022 | SIC103 | V05092 |  |  |  | V49121
P081 | V43022 | V04052 | V05121 |  |  |  | V59121
TCV021 | V03051 | P073 | PSL241.1 |  |  |  | V29052
TCV051 | V23021 | SIC093 | V05031 |  |  |  | V39122
TCV071 | V33023 | SIC103FB | V05093 |  |  |  | V49122
TCV081 | V43023 | V04121 | V05122 |  |  |  | V59122
TE021 | V03052 | SIC073 | PSL242.1 |  |  |  | V39011
TE051 | V23022 | SIC093FB | V05032 |  |  |  | V49011
TE071 | V33051 | A103.4 | V05094 |  |  |  | V59011
TE081 | V43051 | V04122 | V25021 |  |  |  | V69011
V01011 | V43052 | V24001 | V25022 |  |  |  | V69012
V01012 | V43121 | V24002 | V25091 |  |  |  | V69051
V01013 | V53021 | V24051 | V25092 |  |  |  | V69052
V01014 | V53022 | V34001 | V35021 |  |  |  | V69121
V01021 | V53023 | V34002 | V35022 |  |  |  | V69122
V01022 | V53051 | V34051 | V35031
V01023 | V53052 | V34121 | V35041
V01024 | V53121 | V44001 | V35091
V01091 | V63021 | V44002 | V35111
V01092 | V63022 | V44051 | V45021
V01093 | V63023 | V44121 | V45022
V01094 | V63051 | V54001 | V45031
V21011 | V63052 | V54002 | V45041
V21012 | V63121 | V54051 | V45091
V21013 |  | V54121 | V45111
V21021 |  | V64001 | V55021
V21022 |  | V64002 | V55022
V31011 |  | V64051 | V55031
V31012 |  | V64121 | V55041
V31013 |  |  | V55091
V31021 |  |  | V55111
V31022 |  |  | V65021
V31091 |  |  | V65022
V41011 |  |  | V65031
V41012 |  |  | V65041
V41013 |  |  | V65091
V41021 |  |  | V65111
V41022
V41091
V51011
V51012
V51013
V51021
V51022
V51091
V61011
V61012
V61013
V61021
V61022
V61091

## section3 - Oiltek
SECTION 3
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 6 | CLUSTER 7 | CLUSTER 8 | CLUSTER 9
Control Valve | On/Off Valve | Agitator | Flow Transmitter | Control Valve | Control Valve | Control Valve | On/Off Valve | On/Off Valve
Flow Transmitter |  | Low Level Switch | On/Off Valve |  |  | On/Off Valve
Pump |  | Pump | Pressure Switch
Temperature Transmitter |  | Variable Frequency Drive | On/Off Valve
On/Off Valve |  | On/Off Valve

## SECTION 4
SECTION4 |  |  |  |  | SECTION 4
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5 | CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5
ES1 | V1.1 | V1.10a | V2.1 | V2.11 | On/Off Valve | On/Off Valve | On/Off Valve | On/Off Valve | On/Off Valve
ES2 | V1.2 | V1.10b | V2.2 | V2.12
ES11 | V1.3 | V1.11 | V2.3 | V2.13
ES12 | V1.4 | V1.12 | V2.4 | V4.11
ES5 | V1.6 | V1.13 | V2.6 | V4.12
ES6 | V1.7 | V3.10a | V2.7 | V4.13
ES7 | V1.8 | V3.10b | V2.8 | V6.11
ES8 | V1.9 | V3.11 | V2.9 | V6.12
ES13 | V3.1 | V3.12 | V4.1 | V6.13
ES14 | V3.2 | V3.13 | V4.2 | V8.11
ES15 | V3.3 | V5.10A | V4.3 | V8.12
ES16 | V3.4 | V5.10B | V4.4 | V8.13
| V3.6 | V5.11 | V4.6 | V10.11
| V3.7 | V5.12 | V4.7 | V10.12
| V3.8 | V5.13 | V4.8 | V10.13
| V3.9 | V7.10A | V4.9 | V12.11
| V5.1 | V7.10B | V6.1 | V12.12
| V5.2 | V7.11 | V6.2 | V12.13
| V5.3 | V7.12 | V6.3
| V5.4 | V7.13 | V6.4
| V5.6 | V9.10A | V6.6
| V5.7 | V9.10B | V6.7
| V5.8 | V9.11 | V6.8
| V5.9 | V9.12 | V6.9
| V7.1 | V9.13 | V8.1
| V7.2 | V11.10A | V8.2
| V7.3 | V11.10B | V8.3
| V7.4 | V11.11 | V8.4
| V7.6 | V11.12 | V8.6
| V7.7 | V11.13 | V8.7
| V7.8 |  | V8.8
| V7.9 |  | V8.9
| V9.1 |  | V10.1
| V9.2 |  | V10.2
| V9.3 |  | V10.3
| V9.4 |  | V10.4
| V9.6 |  | V10.6
| V9.7 |  | V10.7
| V9.8 |  | V10.8
| V9.9 |  | V10.9
| V11.1 |  | V12.1
| V11.2 |  | V12.2
| V11.3 |  | V12.3
| V11.4 |  | V12.4
| V11.6 |  | V12.6
| V11.7 |  | V12.7
| V11.8 |  | V12.8
| V11.9 |  | V12.9

## section4 - Oiltek
SECTION 4
CLUSTER 1 | CLUSTER 2 | CLUSTER 3 | CLUSTER 4 | CLUSTER 5
On/Off Valve | On/Off Valve | On/Off Valve | On/Off Valve | On/Off Valve

## SECTION 5
SECTION 5
CLUSTER 1 | CLUSTER 2
S705.1 | A603.4
LT751 | A604.4
P705 | A673.4
PSH701 | A723.4
LT702 | A724.4
V702D | A773.4
TE703B | A774.4
PSH752 | A853.4
VP752A | A893.4
P751 | HLA621
P702 | HLA741
FITQ704 | HLA791
TCV705 | LLA603
S706A | LLA604
PSH751 | LLA621
V704.5B | LLA673
FIT701 | LLA723
SIC701 | LLA724
PSH702 | LLA741
S702A | LLA773
V702E | LLA774
TCV704 | LLA791
HLAT752 | LLA853
SIC752 | LLA893
TE705 | P603
TE706A | P604
SIC751 | P621
FITQ705 | P673
HLA701 | P723
SIC701FB | P724
SIC702 | P741
V702A | P773
V702F | P774
TE704 | P791
LLAT752 | P853
PT752A | P893
FIT705A | SIC603
S705B | SIC603FB
FIT751 | SIC604
HLA751 | SIC604FB
LSH705 | SIC673
LSL705 | SIC673FB
LT701 | SIC723
P701 | SIC723FB
HLAT702 | SIC724
LLAT702 | SIC724FB
VP702A | SIC773
PT702B | SIC773FB
SIC702FB | SIC774
TE703A | SIC774FB
LT752 | SIC853
P752 | SIC853FB
S752A | SIC893
V752A | SIC893FB
SIC751FB | V621
PT702A | V741
V704.5A | V791
FIT581
FIT585A
FIT651
FIT755A
FIT831
FIT871
FITQ584
FITQ585
FITQ754
FITQ755
FITQ834
FITQ874
HLA581
HLA651
HLA831
HLA871
HLAT582
HLAT652
HLAT832
HLAT872
LLAT582
LLAT652
LLAT832
LLAT872
LSH585
LSH755
LSL585
LSL755
LT581
LT582
LT651
LT652
LT831
LT832
LT871
LT872
P581
P582
P585
P651
P652
P755
P831
P832
P871
P872
PSH581
PSH582
PSH651
PSH652
PSH831
PSH832
PSH871
PSH872
PT582A
PT582B
PT652A
PT752B
PT832A
PT832B
PT872A
PT872B
S582A
S585.1
S585B
S586A
S652A
S755.1
S755B
S756A
S832A
S872A
SIC581
SIC581FB
SIC582
SIC582FB
SIC651
SIC651FB
SIC652
SIC752FB
SIC831
SIC831FB
SIC832
SIC832FB
SIC871
SIC871FB
SIC872
SIC872FB
TCV584
TCV585
TCV754
TCV755
TCV834
TCV874
TE583A
TE583B
TE584
TE585
TE586A
TE753A
TE753B
TE754
TE755
TE756A
TE833A
TE833B
TE834
TE873A
TE873B
TE874
V582A
V582D
V582E
V582F
V584.5A
V584.5B
V652A
V752D
V752E
V752F
V754.5A
V754.5B
V832A
V832D
V832E
V832F
V834.5A
V834.5B
V872A
V872D
V872E
V872F
V874.5A
V874.5B
VP582A
VP652A
VP832A
VP872A

## section5 - Oiltek
SECTION 5
CLUSTER 1 | CLUSTER 2
Flow Transmitter | High Level Switch
High Level Switch | Low Level Switch
Low Level Switch | On/Off Signal
Level Transmitter | On/Off Valve
Pump | Variable Frequency Drive
Pressure Switch | Pump
Pressure Transmitter
On/Off Valve
Variable Frequency Drive
Control Valve
Temperature Transmitter

## SECTION 6
CUSTOMER | PROJECT | SECTION | CLUSTER | DEVICE_ID
OILTEK | A1706 | SECTION 6 | CLUSTER 1 | TE7021
OILTEK | A1706 | SECTION 6 | CLUSTER 1 | TE7022
OILTEK | A1706 | SECTION 6 | CLUSTER 1 | TE7023
OILTEK | A1706 | SECTION 6 | CLUSTER 1 | TE7024
OILTEK | A9991 | SECTION 6 | CLUSTER 1 | TE7501
OILTEK | A9991 | SECTION 6 | CLUSTER 1 | TE7502
OILTEK | A9991 | SECTION 6 | CLUSTER 1 | TE7503
OILTEK | A9991 | SECTION 6 | CLUSTER 1 | TE7504
OILTEK | A9992 | SECTION 6 | CLUSTER 1 | TE6501
OILTEK | A9992 | SECTION 6 | CLUSTER 1 | TE6502
OILTEK | A9992 | SECTION 6 | CLUSTER 1 | TE6503
OILTEK | A9992 | SECTION 6 | CLUSTER 1 | TE6504
OILTEK | A1993 | SECTION 6 | CLUSTER 1 | TE5801
OILTEK | A1993 | SECTION 6 | CLUSTER 1 | TE5802
OILTEK | A1993 | SECTION 6 | CLUSTER 1 | TE5803
OILTEK | A1993 | SECTION 6 | CLUSTER 1 | TE5804
OILTEK | A1994 | SECTION 6 | CLUSTER 1 | TE8301
OILTEK | A1994 | SECTION 6 | CLUSTER 1 | TE8302
OILTEK | A1994 | SECTION 6 | CLUSTER 1 | TE8303
OILTEK | A1994 | SECTION 6 | CLUSTER 1 | TE8304
OILTEK | A1995 | SECTION 6 | CLUSTER 1 | TE8701
OILTEK | A1995 | SECTION 6 | CLUSTER 1 | TE8702
OILTEK | A1995 | SECTION 6 | CLUSTER 1 | TE8703
OILTEK | A1995 | SECTION 6 | CLUSTER 1 | TE8704

## section6 - Oiltek
SECTION 6
CLUSTER 1
Temperature Transmitter